Item 3 Accessory buildings and structures was assigned to Dave Lyons

  - 10/5/2023 Update:  Still open suggest we define pervious and impervious.As this is within section 185, will need to go to P&Z Commission

  - Dave Lyons - Item 3 accessory buildings and structures; code seems reasonable; need to review definition of accessory building as described in current code.  Also needs review is definition of pervious materials.  Follow on action for Dave to meet with Daune Hicks and Jim Dedes to come up with formal recommendation.  Update 2/28

  - Item 3 accessory buildings and structures; Presented suggested revisions to the code.  The group agreed that the wording need further review.  An additional discussion was conducted on the use of pervious/impervious vs permeable/non-permeable and what standards should be used and should they be incorporated into the code for ease of enforcement.  The matter was tabled until the next meeting.  Marcia Schieck provided additional information to the group for review and consideration.  Update 5/24

Detail of Item 3

3.
§ 185-51Accessory buildings and structures.

F.

No portion of any building lot area developed with a residential use or a mixed commercial and residential use in any district of Dewey Beach shall be covered or paved with impervious materials, including but not limited to poured concrete, asphalt, bricks, impervious pavers, or flag stones, installed in a manner as to create an impervious surface for driveways, parking spaces, or sidewalks. Impervious surfaces existing before March 14, 2009, may continue as a nonconforming structure, and may be repaired, but shall not be expanded horizontally or vertically, nor rebuilt or replaced with impervious materials.

[Added 3-14-2009 by Ord. No. 654]

G.

No portion of any driveway entrance constructed on the public right-of-way developed with a residential use or a mixed commercial and residential use in any district of Dewey Beach may be covered or paved with impervious materials, including but not limited to poured concrete, asphalt, brick, impervious pavers, or flag stones, installed in a manner as to create an impervious surface.

[Added 8-24-2018 by Ord. No. 744]

Questions:	In light of the Federally mandated Stormwater Management requirements,

will only driveways, parking spaces or sidewalks NOT be allowed to be impervious?

§93-1 H speaks of ‘paved’ patios.  Are the patios pervious or impervious?

Does ‘resealing’ an existing driveway constitute replacing “with impervious materials” thus creating an impervious surface?

Definition of Pervious

: capable of being permeated : PENETRABLE

especially : having pores or openings that permit liquids or gases to pass through

Pervious service means any surface material that allows stormwater to infiltrate into the ground.  Examples include lawn, landscape, pasture, native vegetation areas and permeable pavement

Definition of Impervious

adjective: impervious

- not allowing fluid to pass through.

"an impervious layer of basaltic clay"

Impervious surfaces means a hard surface area which either prevents or retards the entry of water into the soil mantle as under natural conditions prior to development. It can also be a hard surface area which causes water to run off the surface in greater quantities or at an increased rate of flow from the flow present under natural conditions prior to development. Common impervious surfaces include, but are not limited to, rooftops, walkways, patios, driveways, parking lots or storage areas, concrete or asphalt paving, gravel surfaces with compacted subgrade, packed earthen materials and oiled, macadam or other surfaces which similarly impede the natural infiltration of stormwater.

Item 5 Smoke Detectors was assigned to Dan Malley

- Open to be addressed by the committee; suggest we review county requirements and align code accordingly.

- Dan Malley reported out on the smoke detector requirement; a suggestion was made to include both carbon monoxide detectors and to investigate the additional requirement of propane detection capabilities  for homes with natural fuel appliances 2/28 Update

Details of Item 5

5.
§ 185-21Smoke detectors.

Every bedroom and sleeping area in a dwelling, including a single-family detached dwelling or dwelling unit within a multifamily dwelling or mixed-use multiunit building, and every guest room in a motel, hotel, bed-and-breakfast, or other similar provider of temporary accommodations shall be provided with an approved smoke detector that is hard-wired into the building's electrical system and provided with battery back-up as per applicable fire and building codes, and installed in accordance with manufacturer's recommendations. When activated, the detector shall emit an audible alarm. The smoke detectors shall be tested in accordance with and meet the requirements of Underwriters Laboratories #217, Single and Multiple Smoke Detectors.

Question:	The International Building Code requires Carbon Monoxide alarms to be installed in all buildings with Residential occupancies (i.e.single family dwellings, duplexes, hotels, etc.) which contain a fuel-burning appliance or an attached garage. IBC 908.7 & IRC 315.

Could the Town Code be expanded to include Carbon Monoxide alarms in order to possibly provide additional safety for homeowners, renters?

Delaware Code Title 16

§ 6601C. Definitions.

For purposes of this chapter:

(1) “Carbon monoxide detection devices” means a battery-operated or AC-powered device that detects the presence of the carbon monoxide gas in order to prevent carbon monoxide poisoning. “Carbon monoxide detection devices” includes combination smoke and carbon monoxide detectors.

(2) “Dwelling unit” means a single unit providing complete, independent living facilities for 1 or more persons, including permanent provisions for living, sleeping, eating, cooking, and sanitation.

(3) a. “Lodging establishment” means any building, group of buildings, structure, facility, place, or places of business where 1 or more dwelling units or sleeping units are provided and which is kept, used, maintained, advertised, or held out to the public to provide lodging accommodations for pay which can be construed to be a hotel, motel, motor hotel, apartment or multi-family dwelling, bed and breakfast facility, bunkhouse, cabin, condominiums, dormitory, extended-stay establishment, multi-family dwelling, resort, or other similar place by any other name, be it rented, leased, or owned for either transient guests, permanent guests, or for both transient and permanent guests.

b. “Lodging establishment” does not include any of the following:

1. Dormitories and other living or sleeping facilities owned or maintained by public or private schools, colleges, universities, or churches unless made available to the general public and not used exclusively for students and faculty.

2. A private residence that is occupied by the owner and where no dwelling or sleeping unit is available for pay.

(4) a. “Owner” means an individual; corporation; business trust; estate trust; partnership; limited liability company; association; joint venture; government; governmental subdivision, agency, or instrumentality; public corporation; or any other legal or commercial entity that meets any of the following requirements:

§ 6602C. Carbon monoxide detection devices required.

(a) Each owner of a lodging establishment shall install carbon monoxide detection devices in accordance with the installation requirements in § 6603C of this title if a dwelling unit or sleeping unit has either of the following:

(1) A fossil-fuel burning heater or appliance, a fireplace, or other feature, fixture, or element that emits carbon monoxide as a byproduct of combustion.

(2) An attached garage.

(b) The requirement of carbon monoxide detection devices under subsection (a) of this section applies to all new and existing lodging establishments, in accordance with the compliance dates provided in § 6604C of this title, regardless of when any such lodging establishment was built.

(c) The owner of a lodging establishment must install and maintain carbon monoxide detection devices required under this chapter, unless there is a tenant of a rented or leased lodging establishment required to have carbon monoxide detection devices under this chapter and the rental agreement, lease agreement, or contract is for a period of 1 month or more. In such a case, the owner must install the required carbon monoxide detection devices but the tenant is responsible for maintaining an operable battery in any carbon monoxide detection devices within the individual rented or leased dwelling unit.

81 Del. Laws, c. 349, § 1;

§ 6603C. Carbon monoxide detection device installation.

(a) Carbon monoxide detection devices required under § 6602C(a) of this title must be installed in accordance with the rules and regulations promulgated by the State Fire Marshal’s Office that must include all of the following:

(1) Single station battery-operated carbon monoxide detection devices listed for the purposes for which they are intended are permitted if both of the following conditions exist:

a. The lodging establishment was either constructed or received final approval for construction, before January 1, 2019;

b. The carbon monoxide detection devices are installed pursuant to manufacturers’ specifications.

(2) Requirements will be consistent with the standards and guidelines of all of the following:

a. The recommendations and instructions provided by the manufacturer of a device.

b. Local building codes.

c. The American National Standards Institute.

(b) Carbon monoxide detection devices are not required in a dwelling unit or sleeping unit if any of the following apply:

(1) A dwelling unit or sleeping unit is located more than 1 story above or below any story that contains a fuel-burning appliance or an attached garage.

(2) A dwelling unit or sleeping unit is not connected by duct work or ventilation shafts to any room containing a fuel-burning appliance or to an attached garage.

81 Del. Laws, c. 349, § 1;

§ 6604C. Compliance dates.

(a) For each lodging establishment, newly erected, built, or constructed after January 1, 2019, the carbon monoxide detection devices required under § 6602C of this title must be installed at the time of construction.

(b) For each lodging establishment, in the process of being erected, built, or constructed as of January 1, 2019, the carbon monoxide detection devices required under § 6602C of this title must be installed before December 31, 2019, or the completion of construction.

(c) For each existing lodging establishment, erected, built, or constructed before January 1, 2019, the carbon monoxide detection devices required under § 6602C of this title must be installed before December 31, 2020.

81 Del. Laws, c. 349, § 1;